Walkthrough Inspection

| Ground Level |
| --- |
| Condition |  | Recommendation |
| Are offices dusted and vacuumed regularly | Yes No |  |
| Do ventilation units operate properly? | Yes No |  |
| Are there any obstructions blocking air intakes? | Yes No |  |
| Are there nests or droppings near outdoor air intakes? | Yes No |  |
| Are dumpsters located away from doors, windows, and outdoor air intakes? | Yes No |  |
| Are there potential sources of air contaminants near the building (chimneys, stacks, industrial plants, exhaust from nearby buildings)? | Yes No |  |
| Are vehicles idling near outdoor air intakes? | Yes No |  |
| Is there minimal pesticide application? | Yes No |  |
| Is there proper drainage away from the building (including roof downspouts)? | Yes No |  |
| Do sprinklers spray away from the building and outdoor air intakes? | Yes No |  |
| Are walk-off mats used at exterior entrances and cleaned regularly? | Yes No |  |
| Roof |  |  |
| Condition |  | Recommendation |
| Is the roof in good condition? | Yes No |  |
| Is there evidence of water ponding? | Yes No |  |
| Do ventilation units operate properly (air flows in)? | Yes No |  |
| Do exhaust fans operate properly (air flows out)? | Yes No |  |
| Do air intakes remain open, even at minimum setting? | Yes No |  |
| Are there nests and droppings near outdoor air intakes? | Yes No |  |
| Does the air from plumbing stacks and exhaust outlet flow away from outdoor air intakes? | Yes No |  |

| Attic |  |  |
| --- | --- | --- |
| Condition |  | Recommendation |
| Is there evidence of roof and plumbing leaks? | Yes No |  |
| Are there birds and animal nests? | Yes No |  |
| General Considerations |  |  |
| Condition |  | Recommendation |
| Is the temperature and humidity maintained within acceptable ranges? | Yes No |  |
| Do any obstructions exist in supply and exhaust vents? | Yes No |  |
| Are there any odors? | Yes No |  |
| Are there signs of mold and mildew growth? | Yes No |  |
| Are there signs of water damage | Yes No |  |
| Is there evidence of pests and obvious food sources? | Yes No |  |
| Have all concerns from school occupants been noted and reviewed? | Yes No |  |
| Bathrooms and General Plumbing |  |  |
| Condition |  | Recommendation |
| Do all bathrooms and restrooms have operating exhaust fans? | Yes No |  |
| Are all drain traps properly maintained? Water is poured down floor drains once per week (approx. 1 quart of water). Water is poured into sinks at least once per week (about 2 cups of water). Toilets are flushed at least once per week. | Yes No |  |
| Maintenance Supplies |  |  |
| Condition |  | Recommendation |
| Are chemicals used only with adequate ventilation and when building is unoccupied? | Yes No |  |
| Are vents in chemical and trash storage areas operating properly? | Yes No |  |
| Are portable fuel containers properly closed? | Yes No |  |
| Have power equipment, like snowblowers and lawn mowers been serviced and maintained according to manufacturers’ guidelines? | Yes No |  |

| Combustion Appliances |  |  |
| --- | --- | --- |
| Condition |  | Recommendation |
| Have combustion gas and fuel been checked for odors? | Yes No |  |
| Do combustion appliances have flues or exhaust hoods? | Yes No |  |
| Are there leaks, disconnections, and deterioration? | Yes No |  |
| Is there soot on inside or outside of flue components? | Yes No |  |
| Other |  |  |
| Condition |  | Recommendation |
| Has paint been checked for peeling and flaking (if the building was built before 1980, this could be a lead hazard)? | Yes No |  |
| Has the date of the last radon test been determined? | Yes No |  |

# Text boxes

Date:____________________		Location:______________________________________

Person(s) Conducting the Survey:__________________________________________________